## Instructions
1. Please enter the total price and not price per kW
2. Units of each entry is mentioned there
3. In case a particular component is not required, please leave that blank, do not delete the component name
4. In the current version, you cannot add a new component
5. Please only add numbers and not Units

## Sheet1
Supply Side | Major Components
| Component | Basic Price | Transportation | GST and Taxes | Total | Service Side | Component | Direct Cost | Indirect Costs | Taxes | Total
| Solar PV Module | 9800000 | 490000 | 490000 | 10780000 |  | Installation and Commissioning | 300000 | 15000 | 15000 | 330000
| Solar Inverter | 1400005 | 70000.25 | 70000.25 | 1540005.5 |  | Net Metering | 100000 | 5000 | 5000 | 110000
| Structures | 1400000 | 70000 | 70000 | 1540000 |  | Approvals | 100000 | 5000 | 5000 | 110000
[7 empty] | Sales | 100000 | 5000 | 5000 | 110000
BoS Components
| Component | Price | Transportation | GST and Taxes | Total
| Structure Foundation/Pedestal | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Solar DC Cable | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Cabling Accessories | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Earthing Protection System | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Lighting Arrestor | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| LT Panel | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| HT Panel | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| AC Distribution (Combiner) Panel Board | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Transformer | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| LT Power Cable | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| LT Power Cable (From ACDB to Customer LT Panel) | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| LT Power Cable (From metering cubical to MDB panel) | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Earthing Cable | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Module Earthing Cable | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| DC Junction Box (SCB/SMB) | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| GI Strip | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Metering Panel | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| MDB Breaker | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Cable trays | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| HT Breaker | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Bus bar | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Reverse Protection Relay | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Net-Metering | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| DG Syncronization | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Communication Cable | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Safety Rails | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Walkways | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Safety Lines | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| SCADA System | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Pyro Meter | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Weather Monitoring Unit | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Ambient Temperature Sensors | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| UPS | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Module Temperature Sensors | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Wire mesh for protection of Skylights | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Cleaning System | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Danger Board and Signs | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Fire Extingusiher | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Generation Meter | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Zero Export Device | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098
| Other Sensors | 17073.1707 | 853.6585 | 2048.7805 | 19975.6098